**­­­** **Brushy Creek Water Supply Corporation**

**Consumer Confidence Report – PWS ID #TX0010036**

Information Specific to Your Community Public Water System

**Annual Water Quality Report for the period of January 1 to December 31, 2013.**

This report is intended to provide you with important information about your drinking water and the efforts made by the water system to provide safe drinking water.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPAs Safe Drinking Water Hotline at (800) 426-4791.

For more information regarding this report contact:

 **Joe Ellis, General Manager 903-549-2488 or 903-724-2004**

Este reporte incluye informacion sobre el aqua para tomar. Para asistencia en enspanol, favor de llamar al telefon (903) 724-2004.

**Sources of Drinking Water**

**Type(s) of water: Brushy Creek WSC is Ground Water from the Carrizo and Wilcox aquifers located in Anderson & Henderson County, Texas.** Brushy Creek WSC has five (5) groundwater wells.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Contaminants may be found in drinking water that may cause taste, color or odor problems. These types of problems are not necessarily causes for health concerns. For more information on taste, odor, or color of drinking water, please contact the system’s business office.

You may be more vulnerable that the general population to certain microbial contaminants, such as Cryptosporidium, in drinking water. Infants, some elderly, or immunocompromised persons such as those undergoing chemotherapy for cancer; persons who have undergone organ transplants; those who are undergoing treatment with steroids; and people with HIV/AIDs or other immune system disorders, can be particularly at risk from infections. You should seek advice about drinking water from your physician or health care providers. Additional guidelines on appropriate means to lessen the risk of infection by Cryptosporidium are available from the Safe Drinking Water Hotline

(800-426-4791.)

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. We are responsible for providing high quality drinking water, but we cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick-up substances resulting from the presence of animals or from human activity.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence

Of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline at (800) 426-4791.

Contaminants that may be present in source water include: **Microbial** **contaminants**, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife. **-Inorganic contaminants**, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming. **–Pesticides and herbicides**, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses.**–Organic chemical contaminants**, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water run-off, and septic systems. –**Radioactive Contaminants**, which can be naturally-occurring or be the result of oil and gas production and mining activities.

**Source Water Assessment**

The TCEQ completed an assessment of your source water and results indicate that some of your sources are susceptible to certain contaminants. The sampling requirements for your water system are based on this susceptibility and previous sample data. Any detections of these contaminants may be found in this Consumer Confidence Report. For more information on source water assessments and protection efforts at our system, contact: Joe Ellis, General Manager.

A Source Water Susceptibility Assessment for your drinking water source(s) is currently being updated by the Texas Commission on Environmental Quality. This information describes the susceptibility and types of constituents that may come into contact with your drinking water source based on human activities and natural conditions. The information contained in the assessment allows us to focus source water protection strategies.

For more information about your sources of water, please refer to the Source Water Assessment Viewer available at the following URL: <http://gis3.tceq.state.tx.us/swav/Controller/index.jsp?wtrsrc>=

Further details about sources and source water assessments are available in Drinking Water Watch at the following URL:

<http://dww.tceq.texas/gov/DWW>

|  |
| --- |
| **Source Water Name Type Of Water Report Status Location**CR 445 GWCR 404 GWCR 441 GWCR 404 GW1182 Anderson County GW Y |

**Information on Detected Contaminants**

The data presented in this report is from the most recent testing done in accordance with the regulations.

**Definitions**

The following tables contain scientific terms and measures, some of which may require explanation.

**Avg**: Regulatory compliance with some MCL;s are on running annual average of monthly samples.

**Action Level Goal (ALG)**: The level of a contaminant in drinking water below which there is no known or expected risk to health. ALG’s allow for a margin of safety.

**Action Level (AL)**: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements that a water system must follow.

**Maximum contaminant Level Goal:** The level of a contaminant in drinking water below which below which there is no known or expected risk to health. MCLG’s allow for a margin of safety.

**Maximum Contaminant Level or MCL:** The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

**Maximum residual disinfectant level goal or MRDLG:** The level of a drinking water disinfectant below which there is no know or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

**Maximum residual disinfectant level or MRDL:** The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

**MFL**: million fibers per liter(a measure of asbestos.)

**NTU**: nephelometric turbidity units (a measure of turbidity.)

**ppm:** milligrams per liter or parts per million – or one ounce in 7,350 gallons of water.

**ppb:** micrograms per liter or parts per billion – or one ounce in 7,350,000 gallons of water.

**na:** not applicable.

**pCi/L**: picocuries per liter (a measure of radioactivity.)

**ppt**: parts per trillion, or nanograms per liter(ng/L).

**ppq**: parts per quadrillion, or pictograms per liter (pg/L).

**2013 Regulated Contaminants Detected**

 **Lead and Copper**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Lead and Copper** | **Date Sampled** | **MCLG** | **Action Level** | **90th Percentile** | **# Sites****Over AL** | **Units** | **Violation** | **Source of Contaminant** |
|  **Copper** |  **2013** |  **1.3** |  **1.3** |  **0.123** |  **0** | **ppm** |  **N** | Corrosion of household plumbing systems; Erosion of natural deposits. |
|  **Lead** |  **2013** |  **0** |  **15** |  **13** |  **1**  | **ppb** |  **N** | Corrosion of household plumbing systems; Erosion of natural deposits. |

**Water Quality Test Results**

**Regulated Contaminants**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Disinfectant and Disinfection By-Products** | **Collection Date** | **Highest Level Detected** | **Range of Levels****Detected** | **MCLG** | **MCL** | **Units** | **Violation** | **Likely Source of Contamination** |
| Haloacetic Acids (HAA5)\* | 2013 | 11 | 0-11 | No goal for the total | 60 | ppb | N | By-product of drinking water disinfection. |
| Total Trihalomethanes (TTHM) | 2013 | 40.8 | 1.02-40.8 | No goal for the total | 80 | ppb | N | By-product of drinking water disinfection. |
| **Inorganic Contaminants** | **Collection Date** | **Highest Level Detected** | **Range of Levels Detected** | **MCLG** | **MCL** | **Units** | **Violation** | **Likely Source of Contamination** |
| Arsenic | 05/09/11 | 0.301 | 0-0.301 | 0 | 10 | ppb | N | Erosion of natural deposits; Runoff from glass and electronics production wastes. |
| Barium | 05/09/11 | 0.109 | 0.011-0.109 | 2 | 2 | ppm | N | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits |
| Beryllium | 05/09/11 | 0.478 | 0-0.478 | 4 | 4 | ppb | N | Discharge from metal refineries and coal-burning factories; Discharge from electrical, aerospace, and defense industries. |
| Chromium | 05/09/11 | 0.418 | 0-0.418 | 100 | 100 | ppb | N | Discharge from steel and pulp mills; Erosion of natural deposits. |
| Fluoride | 08/19/12 | 0.48 | 0.48-0.48 | 4 | 4.0 | ppm | N | Erosion of natural deposits; Water additive which promotes  |
| Nitrate (measured as Nitrogen) | 2013 | 0.0345 | 0.0155-0.0345 | 10 | 10 | ppm | N | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Selenium | 05/09/11 | 0.978 | 0-0.978 | 50 | 50 | ppb | N | Discharge from petroleum and metal refineries; Erosion of natural deposits; Discharge from mines. |
| Thallium | 05/09/11 | 0.066 | 0-0.066 | 0.5 | 2 | ppb | N | Discharge from electronics, glass and Leaching from ore-processing sites; drug factories.  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Radioactive Contaminants** | **Collection Date** | **Highest Level Detected** | **Range of Levels Detected**  | **MCLG** | **MCL** | **Units** | **Violation** | **Likely Source of Contamination** |
| Beta/photon emitters | 02/24/09 | 7.8 | 0-7.8 | 0 | 50 | pCi/L\* | N | Decay of natural and man-made deposits. |

**\*EPA considers 50 pCi/L to be the level of concern for beta particles.**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Gross Alpha excluding radon and uranium | 02/24/09 | 5.3 | 0-5.3 | 0 | 15 | pCi/L | N | Erosion of natural deposits |
| **Volatile Organic Contaminants** | **Collection Date** | **Highest Level Detected** | **Range of Levels Detected** | **MCLG** | **MCL** | **Units** | **Violation** | **Likely Source of Contamination** |
| Xylenes | 04/19/10 | 0.00101 | 0-0.00101 | 10 | 10 | ppm | N | Discharge from petroleum factories; Discharge from chemical factories. |

**Violations Table**

|  |
| --- |
| **Lead and Copper Rule****\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**The Lead and Cooper Rule protects public health by minimizing lead and cooper levels in drinking water, primarily by reducing water corrosivity. Lead and cooperenter drinking water mainly from corrosion of lead and copper containing plumbing materials.**Violation Type Violation Begin Violation End Violation Explanation**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**Lead Consumer Notice (LCR) 12/30/13 2013 We failed to provide the results of lead tap water monitoring to the**  **consumers at the location water was tested. These were supposed to be** **Provided no later than 30 days after learning the results.** |

**Variance or Exemption**

|  |  |  |  |
| --- | --- | --- | --- |
| **What the Variance or Exemption Was/Is** | **Date the Significant Deficiency Was Identified by the TCEQ** | **Plan Approved by the TCEQ and Schedule for Correction, including Interim Measures, Progress to Date, and Any Interim Measures Completed** | **How the Deficiency Was Corrected and the Date of the Corrections** |
| Well #2 – No 150’ SanitaryControl Easement | 2009 | Have filed with TCEQ for exemption, taken monthly raw water samples from well #2 for a period of 12 months. Letter from TCEQ 1/2/13 stated requirements fulfilled effective 1/12/13 | **TCEQ granted exemption****Effective 1/12/2013 – Order terminates 1/12/18 provided WSC maintains compliance** |

Opportunity for public participation in decisions that may affect the quality of the water is available at regularly scheduled

Board meetings held the third Tuesday of each month at 7:00 PM at the Brushy Creek WSC office located at 249 ACR 432

Montalba, TX.